## Sheet1
Revit Category | IFC Target
Air Terminals | IfcAirTerminal
Areas | IfcSpace
Assemblies | IfcElementAssembly
Cable Tray Fittings | IFCCableCarrierFitting
Cable Trays | IFCCableCarrierSegment
Casework | IfcFurniture
Ceilings | IfcCovering
Columns | IfcColumn
Communication Devices | IfcAudioVisualAppliance
Conduit Fittings | IFCCableCarrierFitting
Conduits | IFCCableCarrierSegment
Curtain Panels | IfcCurtainWall
Curtain Systems | IfcCurtainWall
Curtain Wall Mullions | IfcCurtainWall
Data Devices | IfcOutlet
Detail Items | IfcAnnotation
Doors | IfcDoor
Duct Accessories | IfcDuctFitting
Duct Fittings | IfcDuctFitting
Duct Insulations | IfcCovering
Duct Linings | IfcCovering
Duct Placeholders | IfcDuctSegment
Ducts | IfcDuctSegment
Electrical Equipment | IfcBuildingElementProxy
Electrical Fixtures | IfcBuildingElementProxy
Entourage | IfcFurnishingElement
Filled region | IfcAnnotation
Fire Alarm Devices | IfcSensor
Flex Ducts | IfcDuctSegment
Flex Pipes | IfcPipeSegment
Floors | IfcSlab
Furniture | IfcFurniture
Furniture Systems | IfcFurniture
Generic Annotations | IfcAnnotation
Generic Models | IfcBuildingElementProxy
Grids | IfcGrid
Levels | IfcBuildingStorey
Lighting Devices | IfcLightingFixture
Lighting Fixtures | IfcLightingFixture
Lines | IfcAnnotation
Mass | IfcBuildingElementsProxy
Massing | IfcBuildingElementProxy
Mechanical Equipment | IfcBuildingElementProxy
Nurse Call Devices | IfcSwitchingDevice
Parking | IfcSite
Parts | IfcBuildingElementPart
Pipe Accessories | IfcValve
Pipe Fittings | IfcPipeFitting
Pipe Insulations | IfcCovering
Pipe Placeholders | IfcPipeSegment
Pipes | IfcPipeSegment
Planting | IfcSite
Plumbing Fixtures | IfcFlowTerminal
Railings | IfcRailing
Ramps | IfcRamp
Roads | IfcSite
Roofs | IfcRoof
Rooms | IfcSpace
Ruled Curtain System | IfcCurtainWall
Security Devices | IfcAlarm
Shaft Openings | IfcOpeningElement
Site | IfcSite
Spaces | IfcSpace
Specialty Equipment | IfcBuildingElementProxy
Sprinklers | IfcFireSuppressionTerminal
Stair Paths | IfcAnnotation
Stairs | IfcStair
Structural Area Reinforcement | IfcReinforcingMesh
Structural Columns | IfcColumn
Structural Fabric Reinforcement | IfcReinforcingMesh
Structural Foundations | IfcFooting
Structural Framing | IfcBeam
Structural Path Reinforcement | IfcReinforcingMesh
Structural Rebar | IfcReinforcingBar
Structural Stiffeners | IfcBeam
Telephone Devices | IfcAudioVisualAppliance
Text Notes | IfcAnnotation
Topography | IfcSite
Walls | IfcWallStandardCase
Walls/Interior:1 | IfcWall
Walls/Exterior:2 | IfcWall
Walls/Foundation:3 | IfcWall
Walls/Retaining:4 | IfcWall
Windows | IfcWindow
Wires | IfcCableSegment